Trip to PPPL April 12-13, 2016 in order to make initial steps for setting up an MIT-PPPL Gas-Puff Imaging collaboration

Primary PPPL contact: Stewart Zweben

Stewart needed to notify the front gate that I was coming and that he would be my escort. He also needed to get a temporary radiation badge for me since we were going into the test cell. This had to be done before my arrival.

I met with Stewart Zweben: we discussed

- MIT plans and schedule as detailed in the GPI slides in Brian’s 2016 Budget Planning meeting presentation.

- Present status of GPI on NSTX-U, e.g. the old Schott fiber bundle has been replaced by a new bundle. This increased the signal levels significantly. The transmission of a virgin bundle is ~30%. The present system now has a zoom lens system on the front of the Phantom that allows changing the size of the field-of-view and the optical resolution. With the longest “zoom”, they an now achieve an optical-resolution of less than 1mm at the plane of the gas-puff manifold. There is a 50 mm F/1.4 lens on the output end of the coherent fiber. There is then a ~8 mm gap and a clear plastic electrical stand-off (which prevents electrical contact with machine ground) and then the 8 mm to 48 mm f.l. zoom lens. The Phantom CCD is 25.6 mm (1280 pixels) x16.0 mm (800 pixels), i.e. 20 microns per pixel. When this last (zoom) lens is set at 8 mm, the demagnification is 8/50, implying that the 10 mm x 8 mm bundle images to 1.6 x 1.28 mm region on the CCD, i.e. to the 80 x 64 pixel area that is used in the experiment. The input optics (a mirror and a 25 mm f.l. (Stewart – confirm) – F/?? lens) project the 10 x 8 mm bundle onto a region in the gas-puff plane that is ~28 cm x 23 cm. (The bundle size is 10x8 mm with 10 micron fiber size.) Thus the pixel-to-pixel distance projected into the object plane is ~28cm/80 pixels=3.5 mm for the 8 mm f.l. zoom condition. At the zoomed f.l. of 48 mm, the demagnification is only 0.96, meaning that under this condition the pixel-to-pixel distance in the object plane is now 3.5mm/(48/8)=0.58 mm. (Hence the <1mm optical resolution.) Note that the pixel-to-pixel distance mapped to the fiber bundle is 0.02 mm/0.96=0.0208 mm, i.e. bigger than the 10 micron fiber spacing. The Schott bundle is 15 ft long. Here is a photo of the front-end optics arrangement

The mirror shown above directs the view through a 2.02” clear aperture sapphire viewport mounted in the SIDE of a ~4.6” diameter  “can” that is mounted on a 6” conflat as shown in the figure on the left below (the shutter is shown in the OPEN position).

The lower photo shows the “can” viewing the gas-puff manifold, which as best I can estimate is ~62-63 cm away from the axis of the can. Thus the object distance from the 25 mm front-end lens is ~65-70 cm, yielding a 28 cm x 22.5 cm field-of view for the bundle at the plane of the manifold. If the APDs were to use a 25 mm f.l. front-end lens then, we would image a 13.6 x 12.3 cm region at the manifold and each pixel would have a view diameter of 11.2 mm. Using a 50 mm f.l. front-end lens would image a 6.8 x 6.1 cm region at the manifold and each pixel would have a view diameter of 5.6 mm. This lens would use almost the full clear aperture of the sapphire window. If we were to image at the output end of the fiber bundle, we would want each pixel/fiber to image ~5 mm in the object plane. This converts to 5 mm x 2.5/70=0.178 mm on the bundle, so in order to demagnify to the 0.4 mm diam fiber, we would need a 112 mm f.l. lens in combination with Stewart’s 50 mm f.l. lens. This is probably impractical. Using a 75 mm lens in combination with Stewart’s 50 mm lens yields a 7.3 mm spot-size from the 0.4 mm diam at the manifold. I need to check this.

- On NSTX the GPI emission typically peaked just INSIDE the separatrix. Actually it is quite dim in the far-SOL; only the blobs seem to show up there. The Phantom seems to have good SNR up to the top of the pedestal. 300-800 counts are typical at the largest integration time for the 380 kfps framerate.

- The two techs who work for diagnostics are Gus Smalley and Tom Holoman.

- Only PPPL-approved drawings are acceptable in order to use the PPPL machine shop. Thus it is advisable to do the SolidEdge drawings and machining at MIT. Then let the PPPL engineers approve those drawings.

- No formal design reviews are needed for table-top equipment. A peer-review meeting should suffice.

- However, there are issues with getting power and fibers to a rack or table-top location. The requests and end-point-to-end-point drawings needs to be submitted as soon as possible, since this can take months before these things are installed. There appears to be a standard power installation that includes a transformer and another box of some sort. These are installed on the top of the standard rack.

- We need a liaison engineer assigned as soon as possible

- We need to define the space to be used as soon as possible. In order to begin that process, Stewart and I measured the distances to the various prospective rack locations near the Bay B GPI window. Here is a sketch

The length of the APD 90-fiber system is 8.225 m (27 ft), so the run to the RF rack 412-421 on the platform is marginal. However, the run to the 401-403 rack on the floor level is promising. When Brent queried  Frank Jones about any regulation-based show-stoppers for placing a rack next 403, his response was “The rack line up on the 100' elev. (401, 402, 403) would be a good location. This space was previously saved for the TMB system so it should be available now. I would need a work request put into the CAD room for a GA revision and we will send a sketch to reviewers for space approval.  If approved we would reserve the spot for the detector rack.” Here is a more-to-scale drawing showing in red the prospective rack location.

We had a short meeting with Stewart, Brent Stratton, Jon Menard, Masa Ono, and Ragesh Maingi. We discussed the GPI collaboration and the collaboration time line. The recommendation was that Rui work with us on the MIT side and that he liaise with Bob Ellis on the PPPL side. It is very important that we have some sort of liaison with the engineering staff at PPPL. This is also the preferred situation for all of the planned MIT-PPPL collaborations. It means that we need to include Rui in the staffing budget. They also recommended that the MIT on-site presence be moved EARLIER if we want to have equipment in operation for the 2018 campaign. This is because of the long lead times for the on-site installations. Everyone that I talked re-iterated the caution that it takes significantly longer to get things in place at PPPL that at C-Mod, and to expect to begin processes as early as possible. Even things that we take for granted, like power and fiber runs can take a long time.

A radial view, but could be moved to a tangential view

A radial view, but could be moved to a tangential view

1 fiber to entrance slit

18 fibers to entrance slit – selected from 50 viewing fibers

4 fibers to entrance slit

A radial view

I also met with Vlad Soukhanovskii, who is the group leader of the divertor group. He prepared three useful viewgraphs on what his priorities are and what his various instruments are (some are still not installed). Here is the list of diagnostics he presented.

Here are the filterscope details

Obviously there is a lot of overlap with what Bob Mumgaard wants to do with the multi-spectral imaging. Bob should definitely talk with Vlad during his visit. I learned from Vald that the 6” window at Bay B looking radially, and the one we had hoped to use to look at the center stack fueling puff, does NOT in fact see either of the two center-stack fueling points. They are on the center stack opposite Bays C(?) and I.

I also talked with Travis Gray, who is in charge of the IR divertor thermography. They have a 2-color IR thermography system, where the ½ of the detector is illuminated in the one IR wavelength and the identical view is placed on the other ½ of the detector  in the 2nd IR wavelength. This has worked well for them. One outstanding mystery is that the countrate is actually somewhat larger for Li coated surfaces (nominal emissivity ~0.1) than for the graphite surfaces (nominal emissivity ~0.9) with nominally similar heat-fluxes. They will soon do the experiment where they will examine any changes in SOL turbulence that occur with changes in the heat-flux width (footprint). They will vary the plasma current ~0.7 MA to ~1.3 MA (or max allowable at the run time) as well as vary the beam power. The NSTX-U divertor diagnostics are:

Two-color IR thermography

Wide-angle slow IR imaging

Probes

Filter-scopes

A lot of camera imaging

Fiber-imaged spectroscopy (UV thru NIR)

VUV SPRED spectroscopy

I also talked with Filippo Scotti who  runs the fast (passive) cameras on NSTX and has done a lot of great work tracking filaments in 3D. His turbulence imaging cameras are a Phantom 1211, a Phantom 710, a Phantom 7.3 and a Vision Research Miro. The last two are marginal for good turbulence studies. He looks at filaments by looking at Li I (best because of it high excitation rate and short mfp), CIII, and D_alpha (somewhat smeary). He has a field-line tracing code that he will make more user-friendly and send to me. He also sent me his 2015 APS poster on filaments and some unpublished filament analysis.

Finally I met with Rory Perkins and Nicola Bertelli about possible contributions that GPI might make in dealing with the edge power losses associated with the HHFW heating system. They are now trying to test the hypothesis that by lowering the density in front of the antenna, the edge absorption will be significantly reduced. Nicola’s codes tell him that under typical parameters they predict very high RF E-fields. I relayed the C-Mod results that we see strong radial electric fields induced by both the ICRF and the LH within the far-SOL flux tubes that pass just in front of the energized antennas/grill. These Er’s are measured using GPI. They were aware that Stewart had looked at the GPI poloidal velocities with and without the HHFW energized and saw nothing obvious. I urged them to 1) do a mapping from the antenna to the GPI views and 2) look carefully again at the turbulence motions with and without the RF.